## Slide 1: Beyond Monitoring: Proactive Server Preservation in an HPC Environment
Chad Feller
University of Nevada, Reno
8 May 2012
Thesis Defense

## Slide 2: Acknowledgements
My wife, Veronica
My kids
My good friend, Derek Eiler
My committee, Dr. Harris, Dr. Dascalu, Dr. Schlauch

## Slide 3: Background
Monitoring systems
  Increasingly sophisticated
  Still large holes in capabilities

## Slide 4: 9/9/9

## Slide 5: 9/9/9
Power failure sequence kicks in
  UPS caught outage
  Generator started up
Temperature rising
  UPS only powers servers
Power switches to generators
Temperature still rising

## Slide 6: 9/9/9

## Slide 7: 9/10/9

## Slide 8: 9/10/9

## Slide 9: HPC

## Slide 10: Computing Density

## Slide 12: ILOM

## Slide 13: 9/10/9

## Slide 14: 9/10/9

## Slide 15: 7/20/11

## Slide 16: Environmental Considerations
ILOM/IPMI
Sun Grid Engine
Linux

## Slide 17: Architecture

## Slide 18: Frontend

## Slide 19: Ma I n Loop

## Slide 20: Local Testing

## Slide 21: Global Testing

## Slide 22: Global Testing

## Slide 23: Demo

## Slide 24: Conclusion
Developed a temperature monitoring system
  Local Perspective
  Global Perspective
  Intelligent Response
  Designed for HPC & Enterprise servers
Modular Implementation
  Can be easily adapted to other hardware
  Software can be leveraged to other environments
Tested